## Volume
Volume Test (T1)
The results were obtained from meltwater derived from ice cores prepared in the laboratory, following post-processing and refreezing to achieve lower densities.
Resolution = 0.5 cm |  |  |  | Resolution = 1.0 cm
Vial | Volume (mL)/Vial (ρ =0.70) | Volume (mL)/Vial (ρ=0.81) | Volume (mL)/Vial(ρ=0.90) | Vial | Volume (mL)/Vial (ρ =0.74) | Volume (mL)/Vial (ρ=0.82) | Volume (mL)/Vial(ρ=0.90)
1 | 3.3869 | 3.8932 | 3.859 | 1 | 7.57 | 9.8538 | 9.2
2 | 2.9055 | 3.2274 | 5.24 | 2 | 6.75 | 10.5984 | 8.19
3 | 2.7188 | 3.0592 | 3.881 | 3 | 6.8 | 8.5777 | 8.23
4 | 3.2007 | 3.63 | 4.129 | 4 | 7.73 | 7.7983 | 9.37
5 | 3.8978 | 4.5405 | 4.081 | 5 | 8.1 | 10.0027 | 9.82
6 | 3.3982 | 3.9484 | 4.034 | 6 | 8.05 | 10.5781 | 9.75
7 | 2.718 | 3.0423 | 4.026 | 7 | 8.5 | 9.5653 | 10.3
8 | 3.2486 | 3.628 | 3.959 | 8 | 9.28 | 8.6213 | 11.24
9 | 3.9017 | 4.6824 | 3.816 | 9 | 9.5 | 11.4131 | 11.52
10 | 3.5336 | 4.2057 | 4.342 | 10 | 8.48 | 10.3173 | 10.26
11 | 2.8283 | 3.2571 | 4.219 | 11 | 6.99 | 10.1758 | 8.5
12 | 3.3627 | 3.8574 | 3.851 | 12 | 7.49 | 8.6393 | 9.12
13 | 3.7267 | 4.2725 | 4.554 | 13 | 7.25 | 11.0671 | 8.87
14 | 3.626 | 4.2285 | 4.516 | 14 | 8.21 | 9.3711 | 10.07
15 | 3.4045 | 4.0288 | 4.296 | 15 | 8.74 | 10.2552 | 10.7
16 | 3.2546 | 3.7856 | 5.02 | 16 | 8.37 | 7.6724 | 10.25
17 | 3.486 | 4.0063 | 4.825 | 17 | 9.24 | 9.0279 | 11.33
18 | 3.2655 | 3.7756 | 4.404 | 18 | 9.94 | 10.1208 | 12.18
19 | 3.6132 | 4.1439 | 4.865 | 19 | 9.98 | 7.3732 | 12.23
20 | 3.4427 | 3.9121 | 5.075 | 20 | 8.06 | 10.4763 | 10.12
21 | 3.5211 | 3.998 | 5.482 | 21 | 7.6 | 8.6998 | 9.48
22 | 3.7433 | 4.2492 | 5.519 | 22 | 6.78 | 10.5014 | 10.67
23 | 3.674 | 4.1856 | 5.497 | 23 | 6.85 | 9.5416 | 9.95
24 | 3.7078 | 4.2265 | 5.439 | 24 | 7.72 | 8.9697 | 10.45
25 | 3.4897 | 3.972 | 4.986 | 25 | 8.12 | 8.2771 | 11.02
26 | 3.7487 | 4.2671 | 5.512 | 26 | 8.08 | 9.6643 | 10.78
27 | 3.6652 | 4.206 | 5.572 | 27 | 8.55 | 9.9081 | 11.15
28 | 3.829 | 4.3861 | 5.366 | 28 | 9.3 | 10.6021 | 11.62
29 | 3.6068 | 4.1331 | 5.317 | 29 | 9.45 | 8.3502 | 10.51
30 | 3.2528 | 3.7049 | 5.572 | 30 | 8.5 | 9.6164 | 10.97
31 | 3.7828 | 4.3457 | 5.529 | 31 | 7 | 10.3088 | 11.2
32 | 3.3658 | 3.952 | 5.566 | 32 | 7.52 | 10.6022 | 11.7
33 | 3.4873 | 4.0976 | 5.677 | 33 | 7.28 | 9.9963 | 12.05
34 | 3.4548 | 4.0871 | 5.712 | 34 | 8.2 | 9.9317 | 11.4
35 | 2.6667 | 3.1261 | 5.415 | 35 | 8.75 | 9.3939 | 10.82
36 | 2.8687 | 3.2946 | 4.142 | 36 | 8.4 | 9.8829 | 11
37 | 2.8553 | 3.2946 | 5.263 | 37 | 9.25 | 9.0432 | 11.48
38 | 3.4896 | 4.0041 | 4.256 | 38 | 9.95 | 8.7339 | 12.12
39 | 2.8356 | 3.2517 | 4.544 | 39 |  | 8.8771 | 12.3
40 | 3.5336 | 4.0418 | 4.418 | 40 |  | 10.0423 | 11.68
41 | 3.1453 | 3.591 | 4.514 | 41 |  |  | 11.95
42 | 3.8837 | 4.447 | 4.309 | 42 |  |  | 10.88
43 | 3.3875 | 3.8157 | 4.222 | 43 |  |  | 11.07
44 | 3.3086 | 3.7408 | 4.25 | 44 |  |  | 10.92
45 | 3.1367 | 3.5603 | 4.772 | 45 |  |  | 11.25
46 | 2.9412 | 3.3669 | 4.691 | 46 |  |  | 10.99
47 | 3.078 | 3.5082 | 4.292
48 | 2.9861 | 3.4079 | 4.891
49 | 3.1982 | 3.6404 | 4.71
50 | 3.0341 | 3.4716 | 4.836
51 | 3.0297 | 3.4699 | 5.148
52 | 3.2126 | 3.6577 | 4.24
53 | 3.1052 | 3.5553 | 5.117
54 | 3.2181 | 3.6812 | 3.935
55 | 3.1034 | 3.5704 | 5.515
56 | 3.2631 | 3.734 | 4.344
57 | 3.3744 | 3.8171 | 3.989
58 | 3.34 | 3.8097 | 4.313
59 | 3.2838 | 3.7547 | 5.558
60 | 3.1386 | 3.5769 | 5.381
61 | 3.0295 | 3.4404 | 5.605
62 | 2.7503 | 3.1565 | 5.329
63 | 3.1611 | 3.596 | 5.61
64 | 3.4867 | 3.9715 | 5.594
65 | 4.0029 | 4.5645 | 5.464
66 |  |  | 5.544
67 |  |  | 5.463
68 |  |  | 5.568
69 |  |  | 5.525
70 |  |  | 5.263

## Conductivity
Conductivity Analysis for Salinity test (T2)
Conductivity analyses were conducted at the Polar Environment Laboratory at The Ohio State University
Instrument: Pump rate 6mL/min per channel - Melt head - 10oC
Conductivity values: μS/cm
Samples | Conductivity - FC1 | Conductivity - FC2 | Depth | Samples | Conductivity - FC1 | Conductivity - FC2 | Depth
1 | 1039.6 | 1327.1 | 0.45 | 1 | 58.9 | 62.2 | 0.5
2 | 213.2 | 241.4 | 0.9 | 2 | 3.3 | 3.4 | 1
3 | 2435.1 | 3400.2 | 1.35 | 3 | 1197.1 | 743.8 | 1.5
4 | 14563.1 | 16155.1 | 1.8 | 4 | 39037.1 | 35919.7 | 2
5 | 38629 | 39225 | 2.25 | 5 | 39844.5 | 38774.3 | 2.5
6 | 71889 | 75580 | 2.7 | 6 | 47382 | 43777.6 | 3
7 | 69455.1 | 67823.6 | 3.15 | 7 | 37872.1 | 34319.5 | 3.5
8 | 45148.4 | 41157.9 | 3.6 | 8 | 10829.3 | 10734 | 4
9 | 19328.7 | 15395 | 4.05 | 9 | 562.7 | 427.3 | 4.5
10 | 4261 | 3462.8 | 4.5 | 10 | 118.8 | 109.5 | 5
11 | 1237.9 | 1060.4 | 4.95 | 11 | 5776.8 | 5398.1 | 5.5
12 | 3542.3 | 3639.5 | 5.4 | 12 | 48555.3 | 46563.5 | 6
13 | 22991.7 | 24528.4 | 5.85 | 13 | 47833.7 | 47267 | 6.5
14 | 51647.6 | 56826.9 | 6.3 | 14 | 38583.9 | 37936.3 | 7
15 | 64508.4 | 61934.9 | 6.75 | 15 | 15355.7 | 15673 | 7.5
16 | 61775.4 | 59169.4 | 7.2 | 16 | 2671.4 | 2265.3 | 8
17 | 57344.8 | 52455 | 7.65 | 17 | 374 | 298 | 8.5
18 | 37134.3 | 33170 | 8.1 | 18 | 3218.1 | 1372.7 | 9
19 | 12503 | 12059 | 8.55 | 19 | 52621.4 | 34118.6 | 9.5
20 | 1664 | 3008.3 | 9 | 20 | 53430.1 | 53079 | 10
21 | 5007 | 5156 | 9.45 | 21 | 45707.1 | 46099 | 10.5
22 | 11580 | 12192.4 | 9.9 | 22 | 26342 | 31674 | 11
23 | 18208.5 | 17896.8 | 10.35 | 23 | 6161.3 | 7841.2 | 11.5
24 | 65407 | 60684 | 10.8 | 24 | 1417.9 | 1665.7 | 12
25 | 77697 | 79019.2 | 11.25 | 25 | 76.3 | 81.3 | 12.5
26 | 71828.6 | 75135.4 | 11.7 | 26 | 27.1 | 28.1 | 13
27 | 43589 | 45627.6 | 12.15 | 27 | 154.7 | 149.7 | 13.5
28 | 18859.6 | 15955.2 | 12.6
29 | 6051.3 | 3701.7 | 13.05
30 | 1962.8 | 927.7 | 13.5
31 | 263.4 | 282.4 | 13.95
32 | 148.7 | 240.8 | 14.4

## Nutrients
Nutrient test and carryover analysis (T3)
Nutrient analyses were conducted using a Skalar San++ instrument at the Polar ENV Laboratory, The Ohio State University
From S1 to S19, sample results were collected through the system.
S20 represents the standard results without passing through the system. This sample was analyzed twice.
SampleIdentity | Nitrate nitrite TON- Results[µg N/liter] | Ammonia total nitrogen- Results[ppb] | Ortho and total phosphate- Results[ppb]
S1 | -0.89 | 3.1 | 0.23
S2 | -0.05 | 2.125 | 0.525
S3 | 1629.99 | 454.86 | 79.59
S4 | 138.86 | 34.015 | 5.715
S5 | 8.27 | 3.385 | 1.545
S6 | 3.84 | 0.765 | 1.065
S7 | 1638.65 | 480.54 | 81.645
S8 | 80.78 | 29.885 | 4.88
S9 | 17.66 | 5.315 | 1.46
S10 | 2.35 | 4.355 | 0.825
S11 | 1622.54 | 448.63 | 83.86
S12 | 104.74 | 34.07 | 4.29
S13 | 11.99 | 14.32 | 0.325
S14 | 1.59 | 4.36 | -0.41
S15 | 1634.95 | 458.905 | 80.45
S16 | 79.81 | 26.42 | 2.47
S17 | 4.02 | 4.115 | -0.17
S18 | 5.32 | 4.13 | -0.27
S19 | -2.51 | 3.09 | -0.545
S20 | 1731.36 | 474.09 | 93.205 | Standard w/o System
S20 | 1635.95 | 476.35 | 95 | Standard w/o System
LOD | 2.37 | 2.79 | 0.57
LOQ | 7.18 | 8.46 | 1.74
Carryover results from the peaks of S3, S7, S11, and S15.
| Analyte | concentration | PeakSample | ResidualSample | ResidualValue | PeakValue | Carryover (%)
0 | Nitrate nitrite TON- | Results[µgN/liter] | S3 | S4 | 139.33 | 1630.46 | 8.5454
1 | Nitrate nitrite TON- | Results[µgN/liter] | S3 | S5 | 8.74 | 1630.46 | 0.53604
2 | Nitrate nitrite TON- | Results[µgN/liter] | S3 | S6 | 4.31 | 1630.46 | 0.26434
3 | Nitrate nitrite TON- | Results[µgN/liter] | S7 | S8 | 81.25 | 1639.12 | 4.9569
4 | Nitrate nitrite TON- | Results[µgN/liter] | S7 | S9 | 18.13 | 1639.12 | 1.1061
5 | Nitrate nitrite TON- | Results[µgN/liter] | S7 | S10 | 2.82 | 1639.12 | 0.17204
6 | Nitrate nitrite TON- | Results[µgN/liter] | S11 | S12 | 105.21 | 1623.01 | 6.4824
7 | Nitrate nitrite TON- | Results[µgN/liter] | S11 | S13 | 12.46 | 1623.01 | 0.76771
8 | Nitrate nitrite TON- | Results[µgN/liter] | S11 | S14 | 2.06 | 1623.01 | 0.12693
9 | Nitrate nitrite TON- | Results[µgN/liter] | S15 | S16 | 80.28 | 1635.42 | 4.9088
10 | Nitrate nitrite TON- | Results[µgN/liter] | S15 | S17 | 4.49 | 1635.42 | 0.27455
11 | Nitrate nitrite TON- | Results[µgN/liter] | S15 | S18 | 5.79 | 1635.42 | 0.35404
12 | Nitrate nitrite TON- | Results[µgN/liter] | S15 | S19 | -2.04 | 1635.42 | -0.12474
13 | Ammonia total nitrogen | Results[ppb] | S3 | S4 | 31.405 | 452.245 | 6.9442
14 | Ammonia total nitrogen | Results[ppb] | S3 | S5 | 0.775 | 452.245 | 0.17137
15 | Ammonia total nitrogen | Results[ppb] | S3 | S6 | -1.845 | 452.245 | -0.40797
16 | Ammonia total nitrogen | Results[ppb] | S7 | S8 | 27.275 | 477.925 | 5.707
17 | Ammonia total nitrogen | Results[ppb] | S7 | S9 | 2.705 | 477.925 | 0.56599
18 | Ammonia total nitrogen | Results[ppb] | S7 | S10 | 1.745 | 477.925 | 0.36512
19 | Ammonia total nitrogen | Results[ppb] | S11 | S12 | 31.455 | 446.015 | 7.0525
20 | Ammonia total nitrogen | Results[ppb] | S11 | S13 | 11.705 | 446.015 | 2.6244
21 | Ammonia total nitrogen | Results[ppb] | S11 | S14 | 1.745 | 446.015 | 0.39124
22 | Ammonia total nitrogen | Results[ppb] | S15 | S16 | 23.805 | 456.295 | 5.217
23 | Ammonia total nitrogen | Results[ppb] | S15 | S17 | 1.505 | 456.295 | 0.32983
24 | Ammonia total nitrogen | Results[ppb] | S15 | S18 | 1.515 | 456.295 | 0.33202
25 | Ammonia total nitrogen | Results[ppb] | S15 | S19 | 0.475 | 456.295 | 0.1041
26 | Ortho and total phosphate | Results[ppb] | S3 | S4 | 5.34 | 79.21 | 6.7416
27 | Ortho and total phosphate | Results[ppb] | S3 | S5 | 1.17 | 79.21 | 1.4771
28 | Ortho and total phosphate | Results[ppb] | S3 | S6 | 0.69 | 79.21 | 0.8711
29 | Ortho and total phosphate | Results[ppb] | S7 | S8 | 4.5 | 81.27 | 5.5371
30 | Ortho and total phosphate | Results[ppb] | S7 | S9 | 1.08 | 81.27 | 1.3289
31 | Ortho and total phosphate | Results[ppb] | S7 | S10 | 0.45 | 81.27 | 0.55371
32 | Ortho and total phosphate | Results[ppb] | S11 | S12 | 3.91 | 83.48 | 4.6838
33 | Ortho and total phosphate | Results[ppb] | S11 | S13 | -0.05 | 83.48 | -0.059895
34 | Ortho and total phosphate | Results[ppb] | S11 | S14 | -0.79 | 83.48 | -0.94633
35 | Ortho and total phosphate | Results[ppb] | S15 | S16 | 2.09 | 80.07 | 2.6102
36 | Ortho and total phosphate | Results[ppb] | S15 | S17 | -0.55 | 80.07 | -0.6869
37 | Ortho and total phosphate | Results[ppb] | S15 | S18 | -0.65 | 80.07 | -0.81179
38 | Ortho and total phosphate | Results[ppb] | S15 | S19 | -0.93 | 80.07 | -1.1615

## Trace_Elements
Trace elements analysis and Carryover results (T3)
Chemical analyses were conducted using a PerkinElmer 7300 ICP-OES instrument at the Trace Element Research Laboratory (TERL), The Ohio State University
From S1 to S23, sample results were collected through the system.
S24, S25 represents the standard and DI blank results without passing through the system.
Concentration results are in ppb/mL
The wavelenghts selected for each elements analysis.
Ca 393.366(ppb): Ca
K 766.490(ppb): K
Na 589.592(ppb): Na
Mg 279.077(ppb): Mg
Fe 238.204(ppb): Fe
Mn 259.372(ppb): Mn
Cu 327.393(ppb): Cu
Zn 213.857(ppb): Zn
Co 238.892(ppb): Co
Cr 267.716(ppb): Cr
Th 401.913(ppb): Th
V 290.880(ppb): V
Number | Sample | Ca | K | Na | Mg | Fe | Mn | Cu | Zn | Co | Cr | Th | V
1 | S1 | 0.7 | -0.3 | 0.1 | 1.8 | 0.1 | -0.1 | 0 | 1.5 | -0.1 | -0.2 | -1.1 | 0.2
2 | S2 | 1 | 0 | 2.4 | 2.3 | 0.9 | -0.1 | -0.1 | 0.7 | -0.1 | -0.2 | -1.3 | -0.4
3 | S3 | 0.4 | -0.5 | 0.8 | 0.3 | 0 | -0.1 | -0.3 | 0.3 | 0 | -0.2 | 0.4 | -0.1
4 | S4 | 55 | 82.5 | 86.9 | 95.1 | 83.8 | 83.9 | 80.7 | 99.3 | 84 | 83.1 | 56.3 | 82.9
5 | S5 | 5.3 | 2.1 | 1.8 | 6.2 | 1.7 | 1.7 | 1.9 | 10.5 | 1.7 | 1.5 | 1.3 | 1.3
6 | S6 | 1.2 | 0.5 | 2 | 0.8 | 0.2 | 0.3 | -0.1 | 0.5 | -0.2 | -0.3 | -0.8 | 0.1
7 | S7 | 0.2 | 0.3 | 0.7 | 1.7 | 0.2 | -0.1 | -0.2 | 0.3 | 0 | -0.2 | -0.1 | -0.4
8 | S8 | 0.1 | 0.3 | 0.7 | 0.2 | 0 | -0.1 | -0.2 | 0.3 | 0.1 | -0.2 | 0.3 | -0.4
9 | S9 | 4.3 | 1.5 | 2.2 | 3.4 | 0.3 | 0.1 | 0.3 | 1.1 | 0.3 | -0.1 | -1.8 | -0.1
10 | S10 | 56.6 | 90.9 | 96 | 105.8 | 90.4 | 90.6 | 86 | 98.1 | 91.5 | 90.3 | 59.4 | 91.5
11 | S11 | 3.2 | 1.4 | 2.8 | 4.2 | 1.3 | 1.1 | 1.1 | 6 | 1.2 | 0.9 | -0.1 | 1.4
12 | S12 | 1 | 0.1 | 2.3 | 1.3 | 0.2 | 0 | -0.3 | 0.8 | 0.2 | -0.1 | -0.6 | 0.4
13 | S13 | 0.7 | 0.9 | 1.6 | -0.4 | 0 | -0.1 | -0.6 | 0.6 | 0 | -0.3 | 0.7 | 0
14 | S14 | 1.8 | 1.6 | 2.8 | 3.7 | 2.2 | 2 | 1.5 | 2.7 | 2 | 1.8 | 0.7 | 2.5
15 | S15 | 54.7 | 91.7 | 97.9 | 107.2 | 90.7 | 91.4 | 86.7 | 98.6 | 92.6 | 90.5 | 58.6 | 92.6
16 | S16 | 3.6 | 2.1 | 2.6 | 5.5 | 1.5 | 1.2 | 1.1 | 6.3 | 1.3 | 1.2 | -0.5 | 1.5
17 | S17 | 0.6 | 0.7 | 1.3 | 1.8 | 0.8 | 0 | -0.2 | 0.5 | -0.1 | -0.2 | -1.1 | 0
18 | S18 | 0.5 | 0.5 | 1.6 | 1.8 | 0 | -0.1 | -0.5 | 0.5 | 0 | -0.3 | -1 | -0.2
19 | S19 | 4.4 | 5.5 | 6.2 | 5.9 | 4.4 | 4.4 | 4.6 | 5.4 | 4.6 | 4.1 | 2 | 4.4
20 | S20 | 56 | 91 | 97 | 104.7 | 89.5 | 90 | 85.5 | 100.4 | 91.5 | 88.6 | 58.7 | 90.6
21 | S21 | 2.8 | 1.7 | 1.4 | 4.4 | 1.5 | 1.5 | 1.3 | 4.5 | 1.5 | 1.1 | 0.8 | 2.1
22 | S22 | 0.3 | -0.1 | 0 | 2.2 | 0 | 0.2 | -0.3 | 0.2 | 0.1 | -0.1 | -0.2 | 0.9
23 | S23 | 0.2 | -0.2 | -0.2 | 1.7 | 0 | 0 | -0.7 | 0.6 | 0.1 | -0.2 | 0.1 | 0.8
24 | S24 | 58.9 | 97.7 | 105.1 | 102.3 | 98.2 | 97.5 | 91.8 | 98.9 | 99.1 | 97.1 | 63 | 99 | standard w/o system
25 | S25 | 1.8 | 0.4 | 0.7 | 0.6 | 0.4 | -0.1 | -0.1 | -0.1 | -0.2 | -0.1 | 0 | 0.2 | Blank w/o system
LOD (ppb) |  | 1.67 | 1.3 | 0.41 | 0.17 | 0.52 | 0.09 | 0.58 | 0.2 | 0.07 | 0.23 | 1.82 | 0.77
LOQ (ppb) |  | 5.58 | 4.34 | 1.35 | 0.57 | 1.74 | 0.32 | 1.94 | 0.67 | 0.24 | 0.77 | 6.05 | 2.57
Carryover results from the peaks of S4, S10, S15, and S20
Element | PeakSample | Ca: ResidualSample; K: ResidualValue; Na: PeakValue (ppb); Mg: Carryover (%)
Ca | S4 | Ca: S5; K: 4.45; Na: 54.15; Mg: 8.2179
Ca | S4 | Ca: S6; K: 0.35; Na: 54.15; Mg: 0.64635
Ca | S4 | Ca: S7; K: -0.65; Na: 54.15; Mg: -1.2004
Ca | S4 | Ca: S8; K: -0.75; Na: 54.15; Mg: -1.385
Ca | S4 | Ca: S9; K: 3.45; Na: 54.15; Mg: 6.3712
Ca | S10 | Ca: S11; K: 2.35; Na: 55.75; Mg: 4.2152
Ca | S10 | Ca: S12; K: 0.15; Na: 55.75; Mg: 0.26906
Ca | S10 | Ca: S13; K: -0.15; Na: 55.75; Mg: -0.26906
Ca | S10 | Ca: S14; K: 0.95; Na: 55.75; Mg: 1.704
Ca | S15 | Ca: S16; K: 2.75; Na: 53.85; Mg: 5.1068
Ca | S15 | Ca: S17; K: -0.25; Na: 53.85; Mg: -0.46425
Ca | S15 | Ca: S18; K: -0.35; Na: 53.85; Mg: -0.64995
Ca | S15 | Ca: S19; K: 3.55; Na: 53.85; Mg: 6.5924
Ca | S20 | Ca: S21; K: 1.95; Na: 55.15; Mg: 3.5358
Ca | S20 | Ca: S22; K: -0.55; Na: 55.15; Mg: -0.99728
Ca | S20 | Ca: S23; K: -0.65; Na: 55.15; Mg: -1.1786
K | S4 | Ca: S5; K: 2.25; Na: 82.65; Mg: 2.7223
K | S4 | Ca: S6; K: 0.65; Na: 82.65; Mg: 0.78645
K | S4 | Ca: S7; K: 0.45; Na: 82.65; Mg: 0.54446
K | S4 | Ca: S8; K: 0.45; Na: 82.65; Mg: 0.54446
K | S4 | Ca: S9; K: 1.65; Na: 82.65; Mg: 1.9964
K | S10 | Ca: S11; K: 1.55; Na: 91.05; Mg: 1.7024
K | S10 | Ca: S12; K: 0.25; Na: 91.05; Mg: 0.27457
K | S10 | Ca: S13; K: 1.05; Na: 91.05; Mg: 1.1532
K | S10 | Ca: S14; K: 1.75; Na: 91.05; Mg: 1.922
K | S15 | Ca: S16; K: 2.25; Na: 91.85; Mg: 2.4496
K | S15 | Ca: S17; K: 0.85; Na: 91.85; Mg: 0.92542
K | S15 | Ca: S18; K: 0.65; Na: 91.85; Mg: 0.70768
K | S15 | Ca: S19; K: 5.65; Na: 91.85; Mg: 6.1513
K | S20 | Ca: S21; K: 1.85; Na: 91.15; Mg: 2.0296
K | S20 | Ca: S22; K: 0.05; Na: 91.15; Mg: 0.054855
K | S20 | Ca: S23; K: -0.05; Na: 91.15; Mg: -0.054855
Na | S4 | Ca: S5; K: 0.55; Na: 85.65; Mg: 0.64215
Na | S4 | Ca: S6; K: 0.75; Na: 85.65; Mg: 0.87566
Na | S4 | Ca: S7; K: -0.55; Na: 85.65; Mg: -0.64215
Na | S4 | Ca: S8; K: -0.55; Na: 85.65; Mg: -0.64215
Na | S4 | Ca: S9; K: 0.95; Na: 85.65; Mg: 1.1092
Na | S10 | Ca: S11; K: 1.55; Na: 94.75; Mg: 1.6359
Na | S10 | Ca: S12; K: 1.05; Na: 94.75; Mg: 1.1082
Na | S10 | Ca: S13; K: 0.35; Na: 94.75; Mg: 0.36939
Na | S10 | Ca: S14; K: 1.55; Na: 94.75; Mg: 1.6359
Na | S15 | Ca: S16; K: 1.35; Na: 96.65; Mg: 1.3968
Na | S15 | Ca: S17; K: 0.05; Na: 96.65; Mg: 0.051733
Na | S15 | Ca: S18; K: 0.35; Na: 96.65; Mg: 0.36213
Na | S15 | Ca: S19; K: 4.95; Na: 96.65; Mg: 5.1216
Na | S20 | Ca: S21; K: 0.15; Na: 95.75; Mg: 0.15666
Na | S20 | Ca: S22; K: -1.25; Na: 95.75; Mg: -1.3055
Na | S20 | Ca: S23; K: -1.45; Na: 95.75; Mg: -1.5144
Mg | S4 | Ca: S5; K: 4.15; Na: 93.05; Mg: 4.46
Mg | S4 | Ca: S6; K: -1.25; Na: 93.05; Mg: -1.3434
Mg | S4 | Ca: S7; K: -0.35; Na: 93.05; Mg: -0.37614
Mg | S4 | Ca: S8; K: -1.85; Na: 93.05; Mg: -1.9882
Mg | S4 | Ca: S9; K: 1.35; Na: 93.05; Mg: 1.4508
Mg | S10 | Ca: S11; K: 2.15; Na: 103.75; Mg: 2.0723
Mg | S10 | Ca: S12; K: -0.75; Na: 103.75; Mg: -0.72289
Mg | S10 | Ca: S13; K: -2.45; Na: 103.75; Mg: -2.3614
Mg | S10 | Ca: S14; K: 1.65; Na: 103.75; Mg: 1.5904
Mg | S15 | Ca: S16; K: 3.45; Na: 105.15; Mg: 3.281
Mg | S15 | Ca: S17; K: -0.25; Na: 105.15; Mg: -0.23776
Mg | S15 | Ca: S18; K: -0.25; Na: 105.15; Mg: -0.23776
Mg | S15 | Ca: S19; K: 3.85; Na: 105.15; Mg: 3.6614
Mg | S20 | Ca: S21; K: 2.35; Na: 102.65; Mg: 2.2893
Mg | S20 | Ca: S22; K: 0.15; Na: 102.65; Mg: 0.14613
Mg | S20 | Ca: S23; K: -0.35; Na: 102.65; Mg: -0.34096
Fe | S4 | Ca: S5; K: 1.2; Na: 83.3; Mg: 1.4406
Fe | S4 | Ca: S6; K: -0.3; Na: 83.3; Mg: -0.36014
Fe | S4 | Ca: S7; K: -0.3; Na: 83.3; Mg: -0.36014
Fe | S4 | Ca: S8; K: -0.5; Na: 83.3; Mg: -0.60024
Fe | S4 | Ca: S9; K: -0.2; Na: 83.3; Mg: -0.2401
Fe | S10 | Ca: S11; K: 0.8; Na: 89.9; Mg: 0.88988
Fe | S10 | Ca: S12; K: -0.3; Na: 89.9; Mg: -0.3337
Fe | S10 | Ca: S13; K: -0.5; Na: 89.9; Mg: -0.55617
Fe | S10 | Ca: S14; K: 1.7; Na: 89.9; Mg: 1.891
Fe | S15 | Ca: S16; K: 1; Na: 90.2; Mg: 1.1086
Fe | S15 | Ca: S17; K: 0.3; Na: 90.2; Mg: 0.33259
Fe | S15 | Ca: S18; K: -0.5; Na: 90.2; Mg: -0.55432
Fe | S15 | Ca: S19; K: 3.9; Na: 90.2; Mg: 4.3237
Fe | S20 | Ca: S21; K: 1; Na: 89; Mg: 1.1236
Fe | S20 | Ca: S22; K: -0.5; Na: 89; Mg: -0.5618
Fe | S20 | Ca: S23; K: -0.5; Na: 89; Mg: -0.5618
Mn | S4 | Ca: S5; K: 1.8; Na: 84; Mg: 2.1429
Mn | S4 | Ca: S6; K: 0.4; Na: 84; Mg: 0.47619
Mn | S4 | Ca: S7; K: 0; Na: 84; Mg: 0
Mn | S4 | Ca: S8; K: 0; Na: 84; Mg: 0
Mn | S4 | Ca: S9; K: 0.2; Na: 84; Mg: 0.2381
Mn | S10 | Ca: S11; K: 1.2; Na: 90.7; Mg: 1.323
Mn | S10 | Ca: S12; K: 0.1; Na: 90.7; Mg: 0.11025
Mn | S10 | Ca: S13; K: 0; Na: 90.7; Mg: 0
Mn | S10 | Ca: S14; K: 2.1; Na: 90.7; Mg: 2.3153
Mn | S15 | Ca: S16; K: 1.3; Na: 91.5; Mg: 1.4208
Mn | S15 | Ca: S17; K: 0.1; Na: 91.5; Mg: 0.10929
Mn | S15 | Ca: S18; K: 0; Na: 91.5; Mg: 0
Mn | S15 | Ca: S19; K: 4.5; Na: 91.5; Mg: 4.918
Mn | S20 | Ca: S21; K: 1.6; Na: 90.1; Mg: 1.7758
Mn | S20 | Ca: S22; K: 0.3; Na: 90.1; Mg: 0.33296
Mn | S20 | Ca: S23; K: 0.1; Na: 90.1; Mg: 0.11099
Cu | S4 | Ca: S5; K: 1.95; Na: 80.75; Mg: 2.4149
Cu | S4 | Ca: S6; K: -0.05; Na: 80.75; Mg: -0.06192
Cu | S4 | Ca: S7; K: -0.15; Na: 80.75; Mg: -0.18576
Cu | S4 | Ca: S8; K: -0.15; Na: 80.75; Mg: -0.18576
Cu | S4 | Ca: S9; K: 0.35; Na: 80.75; Mg: 0.43344
Cu | S10 | Ca: S11; K: 1.15; Na: 86.05; Mg: 1.3364
Cu | S10 | Ca: S12; K: -0.25; Na: 86.05; Mg: -0.29053
Cu | S10 | Ca: S13; K: -0.55; Na: 86.05; Mg: -0.63916
Cu | S10 | Ca: S14; K: 1.55; Na: 86.05; Mg: 1.8013
Cu | S15 | Ca: S16; K: 1.15; Na: 86.75; Mg: 1.3256
Cu | S15 | Ca: S17; K: -0.15; Na: 86.75; Mg: -0.17291
Cu | S15 | Ca: S18; K: -0.45; Na: 86.75; Mg: -0.51873
Cu | S15 | Ca: S19; K: 4.65; Na: 86.75; Mg: 5.3602
Cu | S20 | Ca: S21; K: 1.35; Na: 85.55; Mg: 1.578
Cu | S20 | Ca: S22; K: -0.25; Na: 85.55; Mg: -0.29223
Cu | S20 | Ca: S23; K: -0.65; Na: 85.55; Mg: -0.75979
Zn | S4 | Ca: S5; K: 9.4; Na: 98.2; Mg: 9.5723
Zn | S4 | Ca: S6; K: -0.6; Na: 98.2; Mg: -0.611
Zn | S4 | Ca: S7; K: -0.8; Na: 98.2; Mg: -0.81466
Zn | S4 | Ca: S8; K: -0.8; Na: 98.2; Mg: -0.81466
Zn | S4 | Ca: S9; K: 0; Na: 98.2; Mg: 0
Zn | S10 | Ca: S11; K: 4.9; Na: 97; Mg: 5.0515
Zn | S10 | Ca: S12; K: -0.3; Na: 97; Mg: -0.30928
Zn | S10 | Ca: S13; K: -0.5; Na: 97; Mg: -0.51546
Zn | S10 | Ca: S14; K: 1.6; Na: 97; Mg: 1.6495
Zn | S15 | Ca: S16; K: 5.2; Na: 97.5; Mg: 5.3333
Zn | S15 | Ca: S17; K: -0.6; Na: 97.5; Mg: -0.61538
Zn | S15 | Ca: S18; K: -0.6; Na: 97.5; Mg: -0.61538
Zn | S15 | Ca: S19; K: 4.3; Na: 97.5; Mg: 4.4103
Zn | S20 | Ca: S21; K: 3.4; Na: 99.3; Mg: 3.424
Zn | S20 | Ca: S22; K: -0.9; Na: 99.3; Mg: -0.90634
Zn | S20 | Ca: S23; K: -0.5; Na: 99.3; Mg: -0.50352
Co | S4 | Ca: S5; K: 1.8; Na: 84.1; Mg: 2.1403
Co | S4 | Ca: S6; K: -0.1; Na: 84.1; Mg: -0.11891
Co | S4 | Ca: S7; K: 0.1; Na: 84.1; Mg: 0.11891
Co | S4 | Ca: S8; K: 0.2; Na: 84.1; Mg: 0.23781
Co | S4 | Ca: S9; K: 0.4; Na: 84.1; Mg: 0.47562
Co | S10 | Ca: S11; K: 1.3; Na: 91.6; Mg: 1.4192
Co | S10 | Ca: S12; K: 0.3; Na: 91.6; Mg: 0.32751
Co | S10 | Ca: S13; K: 0.1; Na: 91.6; Mg: 0.10917
Co | S10 | Ca: S14; K: 2.1; Na: 91.6; Mg: 2.2926
Co | S15 | Ca: S16; K: 1.4; Na: 92.7; Mg: 1.5102
Co | S15 | Ca: S17; K: 0; Na: 92.7; Mg: 0
Co | S15 | Ca: S18; K: 0.1; Na: 92.7; Mg: 0.10787
Co | S15 | Ca: S19; K: 4.7; Na: 92.7; Mg: 5.0701
Co | S20 | Ca: S21; K: 1.6; Na: 91.6; Mg: 1.7467
Co | S20 | Ca: S22; K: 0.2; Na: 91.6; Mg: 0.21834
Co | S20 | Ca: S23; K: 0.2; Na: 91.6; Mg: 0.21834
Cr | S4 | Ca: S5; K: 1.7; Na: 83.3; Mg: 2.0408
Cr | S4 | Ca: S6; K: -0.1; Na: 83.3; Mg: -0.12005
Cr | S4 | Ca: S7; K: 0; Na: 83.3; Mg: 0
Cr | S4 | Ca: S8; K: 0; Na: 83.3; Mg: 0
Cr | S4 | Ca: S9; K: 0.1; Na: 83.3; Mg: 0.12005
Cr | S10 | Ca: S11; K: 1.1; Na: 90.5; Mg: 1.2155
Cr | S10 | Ca: S12; K: 0.1; Na: 90.5; Mg: 0.1105
Cr | S10 | Ca: S13; K: -0.1; Na: 90.5; Mg: -0.1105
Cr | S10 | Ca: S14; K: 2; Na: 90.5; Mg: 2.2099
Cr | S15 | Ca: S16; K: 1.4; Na: 90.7; Mg: 1.5436
Cr | S15 | Ca: S17; K: 0; Na: 90.7; Mg: 0
Cr | S15 | Ca: S18; K: -0.1; Na: 90.7; Mg: -0.11025
Cr | S15 | Ca: S19; K: 4.3; Na: 90.7; Mg: 4.7409
Cr | S20 | Ca: S21; K: 1.3; Na: 88.8; Mg: 1.464
Cr | S20 | Ca: S22; K: 0.1; Na: 88.8; Mg: 0.11261
Cr | S20 | Ca: S23; K: 0; Na: 88.8; Mg: 0
Th | S4 | Ca: S5; K: 2.5; Na: 57.5; Mg: 4.3478
Th | S4 | Ca: S6; K: 0.4; Na: 57.5; Mg: 0.69565
Th | S4 | Ca: S7; K: 1.1; Na: 57.5; Mg: 1.913
Th | S4 | Ca: S8; K: 1.5; Na: 57.5; Mg: 2.6087
Th | S4 | Ca: S9; K: -0.6; Na: 57.5; Mg: -1.0435
Th | S10 | Ca: S11; K: 1.1; Na: 60.6; Mg: 1.8152
Th | S10 | Ca: S12; K: 0.6; Na: 60.6; Mg: 0.9901
Th | S10 | Ca: S13; K: 1.9; Na: 60.6; Mg: 3.1353
Th | S10 | Ca: S14; K: 1.9; Na: 60.6; Mg: 3.1353
Th | S15 | Ca: S16; K: 0.7; Na: 59.8; Mg: 1.1706
Th | S15 | Ca: S17; K: 0.1; Na: 59.8; Mg: 0.16722
Th | S15 | Ca: S18; K: 0.2; Na: 59.8; Mg: 0.33445
Th | S15 | Ca: S19; K: 3.2; Na: 59.8; Mg: 5.3512
Th | S20 | Ca: S21; K: 2; Na: 59.9; Mg: 3.3389
Th | S20 | Ca: S22; K: 1; Na: 59.9; Mg: 1.6694
Th | S20 | Ca: S23; K: 1.3; Na: 59.9; Mg: 2.1703
V | S4 | Ca: S5; K: 1.4; Na: 83; Mg: 1.6867
V | S4 | Ca: S6; K: 0.2; Na: 83; Mg: 0.24096
V | S4 | Ca: S7; K: -0.3; Na: 83; Mg: -0.36145
V | S4 | Ca: S8; K: -0.3; Na: 83; Mg: -0.36145
V | S4 | Ca: S9; K: 0; Na: 83; Mg: 0
V | S10 | Ca: S11; K: 1.5; Na: 91.6; Mg: 1.6376
V | S10 | Ca: S12; K: 0.5; Na: 91.6; Mg: 0.54585
V | S10 | Ca: S13; K: 0.1; Na: 91.6; Mg: 0.10917
V | S10 | Ca: S14; K: 2.6; Na: 91.6; Mg: 2.8384
V | S15 | Ca: S16; K: 1.6; Na: 92.7; Mg: 1.726
V | S15 | Ca: S17; K: 0.1; Na: 92.7; Mg: 0.10787
V | S15 | Ca: S18; K: -0.1; Na: 92.7; Mg: -0.10787
V | S15 | Ca: S19; K: 4.5; Na: 92.7; Mg: 4.8544
V | S20 | Ca: S21; K: 2.2; Na: 90.7; Mg: 2.4256
V | S20 | Ca: S22; K: 1; Na: 90.7; Mg: 1.1025
V | S20 | Ca: S23; K: 0.9; Na: 90.7; Mg: 0.99228

## Additional elements
Table S3. Carryover results for additional trace elements in the T3 validation experiment, | [5 empty] | Table S4. LOD and LOQ values for additional elements in the T3.
showing residual concentrations and corresponding carryover percentages in | [5 empty] | Element | Wavelength (nm) | LOD (ppb) | LOQ (ppb)
post‑pulse fractions (S5–S9, S11–S19, S21–S23) following the four enriched samples S4, S10, S15, and S20. | [5 empty] | Ag | 328.068 | 0.5 | 1.67
Element | Peak Sample | Residual Sample | Residual Value (ppb) | Peak Value (ppb) | Carryover (%) | Cd | 214.44 | 0.07 | 0.25
Ag | S4 | S5 | 0.7 | 78.9 | 0.89 | Ce | 413.764 | 1.21 | 4.04
Ag | S4 | S6 | -0.1 | 78.9 | -0.13 | La | 408.672 | 0.11 | 0.36
Ag | S4 | S7 | 0 | 78.9 | 0 | Nd | 406.109 | 0.5 | 1.67
Ag | S4 | S8 | -0.3 | 78.9 | -0.38 | Pb | 220.353 | 0.38 | 1.28
Ag | S4 | S9 | 0.1 | 78.9 | 0.13 | Pr | 390.844 | 0.29 | 0.97
Cd | S4 | S5 | 1.65 | 85.75 | 1.92 | Rb | 780.023 | 0.32 | 1.08
Cd | S4 | S6 | -0.25 | 85.75 | -0.29 | Sr | 407.771 | 0.11 | 0.36
Cd | S4 | S7 | -0.15 | 85.75 | -0.17
Cd | S4 | S8 | -0.05 | 85.75 | -0.06
Cd | S4 | S9 | 0.05 | 85.75 | 0.06
Ce | S4 | S5 | 0.9 | 85 | 1.06
Ce | S4 | S6 | 0.1 | 85 | 0.12
Ce | S4 | S7 | -0.7 | 85 | -0.82
Ce | S4 | S8 | -0.8 | 85 | -0.94
Ce | S4 | S9 | 0.4 | 85 | 0.47
La | S4 | S5 | 1.45 | 83.75 | 1.73
La | S4 | S6 | 0.25 | 83.75 | 0.3
La | S4 | S7 | -0.05 | 83.75 | -0.06
La | S4 | S8 | -0.05 | 83.75 | -0.06
La | S4 | S9 | 0.25 | 83.75 | 0.3
Nd | S4 | S5 | 1.2 | 86.5 | 1.39
Nd | S4 | S6 | 0.9 | 86.5 | 1.04
Nd | S4 | S7 | 0 | 86.5 | 0
Nd | S4 | S8 | 0.6 | 86.5 | 0.69
Nd | S4 | S9 | 0.2 | 86.5 | 0.23
Pb | S4 | S5 | 1.45 | 73.75 | 1.97
Pb | S4 | S6 | -0.15 | 73.75 | -0.2
Pb | S4 | S7 | -1.05 | 73.75 | -1.42
Pb | S4 | S8 | -0.55 | 73.75 | -0.75
Pb | S4 | S9 | 0.25 | 73.75 | 0.34
Pr | S4 | S5 | 1.95 | 84.35 | 2.31
Pr | S4 | S6 | 0.65 | 84.35 | 0.77
Pr | S4 | S7 | 0.05 | 84.35 | 0.06
Pr | S4 | S8 | 0.95 | 84.35 | 1.13
Pr | S4 | S9 | 1.55 | 84.35 | 1.84
Rb | S4 | S5 | 1.85 | 83.45 | 2.22
Rb | S4 | S6 | 1.15 | 83.45 | 1.38
Rb | S4 | S7 | -0.25 | 83.45 | -0.3
Rb | S4 | S8 | 1.55 | 83.45 | 1.86
Rb | S4 | S9 | 0.75 | 83.45 | 0.9
Sr | S4 | S5 | 1.6 | 86 | 1.86
Sr | S4 | S6 | 0 | 86 | 0
Sr | S4 | S7 | 0 | 86 | 0
Sr | S4 | S8 | 0 | 86 | 0
Sr | S4 | S9 | 0.2 | 86 | 0.23
Ag | S10 | S11 | 0.6 | 86.2 | 0.7
Ag | S10 | S12 | -0.1 | 86.2 | -0.12
Ag | S10 | S13 | -0.1 | 86.2 | -0.12
Ag | S10 | S14 | 1.9 | 86.2 | 2.2
Cd | S10 | S11 | 1.05 | 91.85 | 1.14
Cd | S10 | S12 | -0.15 | 91.85 | -0.16
Cd | S10 | S13 | -0.05 | 91.85 | -0.05
Cd | S10 | S14 | 2.05 | 91.85 | 2.23
Ce | S10 | S11 | 0.7 | 92.2 | 0.76
Ce | S10 | S12 | -0.6 | 92.2 | -0.65
Ce | S10 | S13 | 0.3 | 92.2 | 0.33
Ce | S10 | S14 | 2 | 92.2 | 2.17
La | S10 | S11 | 0.95 | 89.85 | 1.06
La | S10 | S12 | 0.15 | 89.85 | 0.17
La | S10 | S13 | -0.15 | 89.85 | -0.17
La | S10 | S14 | 2.25 | 89.85 | 2.5
Nd | S10 | S11 | -0.4 | 92.5 | -0.43
Nd | S10 | S12 | -0.4 | 92.5 | -0.43
Nd | S10 | S13 | -0.4 | 92.5 | -0.43
Nd | S10 | S14 | 1.7 | 92.5 | 1.84
Pb | S10 | S11 | 0.45 | 77.55 | 0.58
Pb | S10 | S12 | -0.75 | 77.55 | -0.97
Pb | S10 | S13 | -0.05 | 77.55 | -0.06
Pb | S10 | S14 | 1.35 | 77.55 | 1.74
Pr | S10 | S11 | 1.75 | 90.25 | 1.94
Pr | S10 | S12 | 1.45 | 90.25 | 1.61
Pr | S10 | S13 | 0.75 | 90.25 | 0.83
Pr | S10 | S14 | 3.35 | 90.25 | 3.71
Rb | S10 | S11 | 0.65 | 90.15 | 0.72
Rb | S10 | S12 | -0.45 | 90.15 | -0.5
Rb | S10 | S13 | -0.55 | 90.15 | -0.61
Rb | S10 | S14 | 1.65 | 90.15 | 1.83
Sr | S10 | S11 | 1.2 | 90.3 | 1.33
Sr | S10 | S12 | 0.1 | 90.3 | 0.11
Sr | S10 | S13 | 0 | 90.3 | 0
Sr | S10 | S14 | 2.1 | 90.3 | 2.33
Ag | S15 | S16 | 0.7 | 86.9 | 0.81
Ag | S15 | S17 | -0.1 | 86.9 | -0.12
Ag | S15 | S18 | -0.1 | 86.9 | -0.12
Ag | S15 | S19 | 4.2 | 86.9 | 4.83
Cd | S15 | S16 | 1.35 | 92.85 | 1.45
Cd | S15 | S17 | -0.05 | 92.85 | -0.05
Cd | S15 | S18 | 0.05 | 92.85 | 0.05
Cd | S15 | S19 | 4.55 | 92.85 | 4.9
Ce | S15 | S16 | 1.6 | 91.6 | 1.75
Ce | S15 | S17 | 0.1 | 91.6 | 0.11
Ce | S15 | S18 | -0.2 | 91.6 | -0.22
Ce | S15 | S19 | 4.7 | 91.6 | 5.13
La | S15 | S16 | 1.15 | 90.45 | 1.27
La | S15 | S17 | 0.05 | 90.45 | 0.06
La | S15 | S18 | 0.05 | 90.45 | 0.06
La | S15 | S19 | 4.55 | 90.45 | 5.03
Nd | S15 | S16 | 0.8 | 93.4 | 0.86
Nd | S15 | S16 | 0.8 | 88.5 | 0.9
Nd | S15 | S17 | 1 | 93.4 | 1.07
Nd | S15 | S17 | -0.5 | 88.5 | -0.56
Nd | S15 | S18 | -1 | 93.4 | -1.07
Nd | S15 | S18 | 0.3 | 88.5 | 0.34
Nd | S15 | S19 | 5.4 | 93.4 | 5.78
Nd | S15 | S19 | 4.2 | 88.5 | 4.75
Pb | S15 | S16 | 0.15 | 79.05 | 0.19
Pb | S15 | S17 | -1.05 | 79.05 | -1.33
Pb | S15 | S18 | -0.35 | 79.05 | -0.44
Pb | S15 | S19 | 3.95 | 79.05 | 5
Pr | S15 | S16 | 1.25 | 91.15 | 1.37
Pr | S15 | S17 | 1.15 | 91.15 | 1.26
Pr | S15 | S18 | 0.45 | 91.15 | 0.49
Pr | S15 | S19 | 5.85 | 91.15 | 6.42
Rb | S15 | S16 | -0.95 | 88.15 | -1.08
Rb | S15 | S17 | -0.25 | 88.15 | -0.28
Rb | S15 | S18 | -1.05 | 88.15 | -1.19
Rb | S15 | S19 | 4.15 | 88.15 | 4.71
Sr | S15 | S16 | 1.4 | 92.6 | 1.51
Sr | S15 | S17 | 0 | 92.6 | 0
Sr | S15 | S18 | 0 | 92.6 | 0
Sr | S15 | S19 | 4.4 | 92.6 | 4.75
Ag | S20 | S21 | 1 | 85.7 | 1.17
Ag | S20 | S22 | 0 | 85.7 | 0
Ag | S20 | S23 | -0.1 | 85.7 | -0.12
Cd | S20 | S21 | 1.25 | 91.55 | 1.37
Cd | S20 | S22 | -0.15 | 91.55 | -0.16
Cd | S20 | S23 | 0.05 | 91.55 | 0.05
Ce | S20 | S21 | 1.5 | 91 | 1.65
Ce | S20 | S22 | 0 | 91 | 0
Ce | S20 | S23 | -0.3 | 91 | -0.33
La | S20 | S21 | 1.55 | 89.45 | 1.73
La | S20 | S22 | 0.05 | 89.45 | 0.06
La | S20 | S23 | 0.15 | 89.45 | 0.17
Nd | S20 | S21 | 1.1 | 92.2 | 1.19
Nd | S20 | S22 | 0.4 | 92.2 | 0.43
Nd | S20 | S23 | -0.3 | 92.2 | -0.33
Pb | S20 | S21 | 0.85 | 77.05 | 1.1
Pb | S20 | S23 | -1.35 | 77.05 | -1.75
Pr | S20 | S21 | 2.35 | 88.95 | 2.64
Pr | S20 | S22 | 0.45 | 88.95 | 0.51
Pr | S20 | S23 | 0.45 | 88.95 | 0.51
Rb | S20 | S21 | -0.25 | 88.85 | -0.28
Rb | S20 | S22 | -0.35 | 88.85 | -0.39
Rb | S20 | S23 | -0.95 | 88.85 | -1.07
Sr | S20 | S21 | 1.6 | 92.2 | 1.74
Sr | S20 | S22 | 0 | 92.2 | 0
Sr | S20 | S23 | 0.1 | 92.2 | 0.11

## Sediments
SEDIMENT RECOVERY ANALYSIS - SUMMARY
Recovery Statistics:
Mean: 86.0%
Median: 85.8%
Std Dev: ±6.08%
Range: 80.2% - 95.4%
Sample Details:
Sample 1: 0.0406g / 0.0500g = 81.2%
Sample 2: 0.0429g / 0.0500g = 85.8%
Sample 3: 0.0401g / 0.0500g = 80.2%
Sample 4: 0.0438g / 0.0500g = 87.6%
Sample 5: 0.0477g / 0.0500g = 95.4%
Disc Specification: 18mm

## FEP
Sample | Al 308.215 | Ni 231.604 | Ni 232.003 | Ag 328.068 | Ca 317.933 | Ca 315.887 | Ca 393.366 | Cd 228.802 | Cd 214.440 | Ce 413.764 | Co 228.616 | Co 238.892 | Cr 267.716 | Cr 205.560 | Cu 327.393 | Fe 238.204 | Fe 239.562 | Fe 259.939 | K 766.490 | La 408.672 | La 379.478 | Mg 285.213 | Mg 279.077 | Mg 280.271 | Mn 257.610 | Mn 259.372 | Mn 260.568 | Na 589.592 | Na 588.995 | Nd 406.109 | Nd 401.225 | Pb 220.353 | Pr 390.844 | Rb 780.023 | Sr 407.771 | Sr 421.552 | Th 283.730 | U 367.007 | V 290.880 | Zn 206.200 | Zn 213.857
1 - blank | 0.77 | -0.43 | 0.19 | -0.122 | -0.488 | -1.246 | -0.962 | 0.092 | 0.363 | 10.39 | -0.612 | 0.088 | 0.377 | 0.56 | 0.074 | 0.395 | 0.426 | 0.352 | 1.53 | -0.037 | -0.163 | 5.119 | 3.745 | 4.658 | 0.012 | 0.061 | 0.047 | 1.934 | 0.863 | 9.34 | 0.964 | 2.244 | 1.021 | 3.922 | 0.316 | 0.243 | 1.782 | 6.309 | -0.436 | 1.483 | 1.4
2 - blank | 2.182 | 0.011 | 0.091 | -0.483 | -0.23 | -1.57 | -0.845 | -0.365 | 0.387 | 4.12 | -1.072 | 0.038 | 0.093 | 0.502 | -0.462 | 0.429 | 0.466 | 0.206 | 1.238 | 0.271 | -0.095 | 4.673 | 6.742 | 4.255 | 0.016 | 0.033 | 0.06 | 1.44 | 0.751 | -0.83 | 0.562 | 1.12 | 0.816 | 1.33 | 0.341 | 0.14 | 1.551 | 5.703 | -0.558 | 1.252 | 1.427
3 | 86.386 | 85.668 | 81.078 | 81.158 | 61.733 | 63.222 | 63.506 | 82.407 | 84.754 | 129.69 | 81.327 | 85.017 | 86.242 | 82.078 | 87.002 | 88.313 | 94.697 | 95.754 | 65.119 | 87.76 | 85.05 | 90.988 | 77.357 | 89.317 | 85.7 | 85.24 | 85.472 | 76.532 | 83.784 | 116.12 | 82.052 | 90.42 | 87.861 | 125.58 | 78.36 | 82.807 | 94.573 | 96.11 | 79.42 | 89.799 | 86.424
4 | 11.676 | 8.646 | 8.268 | 6.993 | 6.304 | 5.894 | 6.164 | 7.413 | 7.503 | 17.561 | 7.091 | 7.064 | 7.322 | 6.945 | 8.163 | 11.253 | 12.097 | 12.094 | 5.71 | 7.075 | 6.776 | 11.248 | 11.467 | 10.797 | 7.196 | 7.221 | 7.15 | 7.381 | 8.151 | 6.484 | 7.592 | 9.202 | 7.341 | 12.154 | 6.747 | 7.069 | 8.088 | 14.421 | 6.293 | 9.225 | 8.934
5 | 3.676 | 1.057 | 0.822 | 0.6 | 3.282 | 3.01 | 2.088 | 0.505 | 0.825 | 7.82 | 0.358 | 0.748 | 0.867 | 1.176 | 0.601 | 1.695 | 1.633 | 1.687 | 1.898 | 0.488 | 0.869 | 2.489 | 2.08 | 2.219 | 0.76 | 0.772 | 0.762 | 2.533 | 2.57 | 3.72 | 1.376 | 3.143 | 1.411 | 2.945 | 0.831 | 0.894 | 1.565 | 3.456 | 0.426 | 1.415 | 1.483
6 | 3.826 | 0.349 | -0.431 | -0.044 | 2.063 | 1.65 | 1.726 | 0.199 | 0.263 | -6.01 | -0.479 | 0.219 | 0.176 | 0.844 | 0.002 | 0.586 | 0.596 | 0.651 | 1.286 | -0.252 | 0.166 | 1.655 | 1.993 | 1.387 | 0.113 | 0.129 | 0.055 | 1.801 | 1.374 | 2.125 | 0.759 | -0.465 | -1.028 | -2.95 | 0.14 | 0.038 | 1.256 | -1.2 | 0.311 | 1.019 | 1.018
7 | 60.036 | 81.868 | 78.548 | 79.608 | 54.403 | 55.442 | 58.216 | 81.597 | 84.384 | 120.19 | 79.397 | 82.437 | 85.592 | 81.748 | 85.302 | 84.173 | 90.387 | 91.744 | 64.869 | 85.79 | 84.79 | 86.128 | 73.177 | 84.197 | 84 | 83.82 | 83.262 | 74.992 | 83.284 | 108.1 | 82.162 | 86.3 | 87.241 | 131.48 | 73.02 | 81.337 | 89.443 | 91.97 | 78.02 | 84.779 | 80.954
8 | 3.736 | 3.964 | 4.168 | 3.468 | 4.744 | 4.497 | 4.912 | 4.105 | 3.935 | 10.182 | 2.956 | 3.712 | 3.994 | 4.215 | 3.776 | 4.771 | 5.21 | 5.105 | 3.225 | 3.609 | 3.771 | 5.151 | 4.94 | 4.985 | 3.836 | 3.885 | 3.812 | 3.802 | 4.143 | 7.933 | 4.127 | 2.551 | 4.292 | 12.495 | 3.418 | 3.849 | 3.736 | 7.76 | 2.703 | 4.591 | 4.584
9 | 1.849 | 0.316 | -0.146 | -0.092 | -1.195 | -1.727 | -1.428 | 0.524 | 0.434 | -4.1 | -0.684 | 0.308 | 0.505 | 0.69 | 0.459 | 0.841 | 1.014 | 0.614 | 1.147 | -0.137 | 0.39 | 1.642 | 3.364 | 1.354 | 0.41 | 0.393 | 0.379 | 1.087 | 0.773 | -1.81 | 0.836 | 0.861 | 0.962 | 0.2 | 0.378 | 0.257 | 1.23 | 3.599 | 0.219 | 1.554 | 1.082
10 | -0.348 | 0.271 | -0.552 | -0.302 | 2.251 | 2.319 | 2.188 | 0.155 | 0.124 | 1.73 | -0.339 | 0.169 | 0.229 | 0.029 | -0.03 | 0.221 | 0.349 | 0.244 | 0.419 | -0.184 | 0.276 | 1.605 | 2.636 | 1.315 | 0.055 | 0.059 | 0.029 | 1.24 | 1.051 | 5.07 | 0.127 | 1.594 | 1.292 | -4.32 | 0.12 | 0.021 | 0.378 | -0.06 | 0.002 | 1.257 | 1.627
11 | 52.966 | 78.178 | 72.898 | 77.048 | 55.953 | 58.422 | 52.886 | 77.167 | 79.764 | 103.59 | 75.117 | 77.047 | 81.532 | 77.578 | 80.432 | 77.503 | 84.707 | 84.794 | 58.229 | 80.74 | 80.63 | 81.658 | 68.557 | 79.857 | 79.7 | 79.53 | 78.402 | 67.962 | 74.614 | 99.61 | 77.772 | 83.18 | 82.411 | 122.08 | 65.56 | 77.317 | 84.083 | 83.97 | 73.59 | 79.679 | 75.724
12 | 6.026 | 4.153 | 4.387 | 3.942 | 4.091 | 3.841 | 4.346 | 3.703 | 3.903 | -2.19 | 3.453 | 3.728 | 3.735 | 4.162 | 4.146 | 4.672 | 5.187 | 5.164 | 4.283 | 4.004 | 3.748 | 5.515 | 6.619 | 5.348 | 3.788 | 3.848 | 3.653 | 4.081 | 5.343 | 0.24 | 4.58 | 5.702 | 4.069 | 6.452 | 3.352 | 3.334 | 2.674 | 3.286 | 3.863 | 4.797 | 4.769
13 - blank | -0.456 | -0.003 | 0.683 | -0.141 | -0.084 | 0.488 | 0.041 | 0.699 | 0.205 | -4.21 | 0.251 | 0.362 | 0.383 | 0.683 | 0.669 | 0.183 | 0.486 | 0.38 | -0.315 | -0.272 | 0.199 | 0.996 | -1.128 | 0.823 | 0.259 | 0.238 | 0.207 | 0.302 | 1.462 | -2.75 | 0.657 | -0.38 | 0.204 | -2.32 | 0.216 | 0.141 | 0.3 | -1.66 | -0.143 | 0.854 | 0.479
LOD | 2.496 | -0.422 | 0.964 | -0.746 | -0.802 | -2.328 | -1.766 | 0.426 | 0.955 | 10.3 | -1.433 | 0.488 | 0.853 | 1.745 | 0.281 | 1.007 | 1.378 | 0.938 | 2.453 | -0.038 | -0.059 | 10.788 | 9.359 | 9.736 | 0.287 | 0.332 | 0.314 | 3.676 | 3.076 | 5.76 | 2.183 | 2.984 | 2.041 | 2.932 | 0.873 | 0.524 | 3.633 | 10.352 | -1.137 | 3.589 | 3.306
LOQ | 8.32 | -1.4067 | 3.2133 | -2.4867 | -2.6733 | -7.76 | -5.8867 | 1.42 | 3.1833 | 34.3333 | -4.7767 | 1.6267 | 2.8433 | 5.8167 | 0.93667 | 3.3567 | 4.5933 | 3.1267 | 8.1767 | -0.12667 | -0.19667 | 35.96 | 31.1967 | 32.4533 | 0.95667 | 1.1067 | 1.0467 | 12.2533 | 10.2533 | 19.2 | 7.2767 | 9.9467 | 6.8033 | 9.7733 | 2.91 | 1.7467 | 12.11 | 34.5067 | -3.79 | 11.9633 | 11.02